Obrazac 1

Naručilac:”Sportski objekti” doo Podgorica                                                           
Broj: 4571/21
Datum: 28.04.2021.g.

Na osnovu člana 27 stav 1 Zakona o javnim nabavkama („Službeni list CG“, broj 74/19)  i Pravilnika  za sprovođenje jednostavnih nabavki ("Službeni list Crne Gore", br.102/20 od 16.10.2020)  “Sportski objekti “ doo  /dostavlja


ZAHTJEV ZA DOSTAVLJANJE PONUDA
ZA JEDNOSTAVNE NABAVKE 07/ЈN

I Podaci o naručiocu 

	Naručilac: „Sportski objekti” d.o.o Podgorica
	Lice/a za davanje informacija: Snežana Sekulić,,dipl.ecc


	Adresa: 19.decembra br.12
	Poštanski broj: 81000

	Sjedište: Podgorica
	PIB (Matični broj):  02789507

	Telefon: 020 664 291
          
	Faks: 020 664 294

	E-mail adresa:
snezana.sekulic@pgsport.me
office@pgsport.me
	Internet stranica (web): pgsport.me



II  Predmet nabavke:

 ROBA

III Opis predmeta nabavke: 
	Nabavka po tehničkoj specifikaciji i nadogradnju sistema video nadzora na Gradskim bazenima




IV Procijenjena vrijednost jednostavne nabavke:

Procijenjena vrijednost jednostavne nabavke 4.132,00 € bez uračunatog pdv-a 






V Tehničke karakteristike ili specifikacije

NABAVKA PO TEHNIČKOJ SPECIFIKACIJI I NADOGRADNJU SISTEMA VIDEO NADZORA NA GRADSKIM BAZENIMA

Snimač (DVR/NVR) kom 1: 
4K P2P mrežni video snimač za 32 IP kamere, H.264/H.265 kompresija, mogućnost automatskog preuzimanja video zapisa sa SD kartice kamere u slučaju prekida mrežne veze (ANR funkcija) 320M bandwidth snimanje rezolucija do 12MP, 1U Case, H.265/H.264/MJPEG/MPEG4 codec decoding, 32ch Video in, Audio in/out, 16 Alarm in/6 Alarm out, 1 VGA/1 HDMI (3840x2160), 1 RJ45(1000M), 2 USB, dvosmjerna audio komunikacija, 4 SATA porta, up to 32TB, RS232, P2P, IPC UPnP 
NAPOMENA: Navesti naziv proizvođača u finansijsku ponudu I dostaviti deklaraciju
Switch 24 port kom 1:
24-Port FE PoE+ 1-Port Gigabit Combo PoE Switch, Compliant IEEE 802.3, IEEE 802.3u, IEEE802.3ab, IEEE802.3x standards, Supports IEEE802.3af, IEEE802.3at, Hi-PoE standards, Supports normal working mode, port isolation (VLAN) mode, monitoring mode, network extend mode, Supports Store-and-Forward, 24*10/100Mbps ports, 1*Gigabit Combo port, support port auto flipping (Auto MDI / MDIX), Port 1-2 support the maximum power of 60W, PoE output total power up to 190W, Supports IEEE802.3x flow control for Full-duplex Mode and backpressure for Half-duplex Mode, 4K entry MAC address table with auto-learning and auto- aging, LED indicators for monitoring power, Link and activity
NAPOMENA: Navesti naziv proizvođača u finansijsku ponudu
Kamera kom 10:
Dome dan/noc mrežna kamera u IK10 kucištu, WDR(120dB), 3DNR, 4 megapiksela, 1/3'' CMOS cip sa progresivnim skeniranjem H.265+ / H.265 / H.264+ / H.264 kompresija, maksimalna rezolucija 20fps@4Mp(2560×1440), 25/30fps@3Mp(2304x1296), ICR filter, automatska kontrola bijele boje, automatska kontrola pojacanja, 3D redukcija šuma. Fiskni objektiv 2.8 mm, minimalno osvetljenje 0 luksa, maksimalan domet IC dioda 30 metara, ONVIF podrška, alarm in/out, audio in/ out, 12VDC/PoE napajanje, IP67. Micro SD kartica slot do 128GB. Smart funkcije. Odgovarajuca dozna i zidni nosac.
[bookmark: _Hlk70540827]NAPOMENA: Navesti naziv proizvođača u finansijsku ponudu I dostaviti deklaraciju
Računar, tastatura,miš   kom 1:
Procesor: Intel® Core™ i3 9100F(3.6GHz), Memorija:8GB DDR4, 2666 MHz, Hard DD: 240GB SSD + HDD 1TB/7200Rpms, Grafička kartica :NVIDIA GTX 1650 4GB DDR5 ili slična, Mreža: LAN 10/100/1000 Ethernet LAN, Kućište sa napajanjem: 600W,USB tastatura, USB miš
Navesti naziv proizvođača u finansijsku ponudu

 Monitor kom 2: 
Dijagonala ekrana    27", Maksimalna rezolucija : 1920x1080, Osvetljenje: 250cd/m2, Kontrast: 1000:1/20.000.000:1, Vrijeme odziva: 7ms, Ugao vidljivosti: 178° vertical / 178°, Povezivanje:Audio Out, D-Sub, HDMI,RGB
[bookmark: _Hlk70540597]NAPOMENA: Navesti naziv proizvođača u finansijsku ponudu
HDD 6TB, kom 2
Veličina :3.5 inča, Kapacitet: 6TB, minimalni RPMS: 5400 rpm, Interfejs: SATA III,  Protok: 6 Gbps (600 MB/s), Keš memorija: 64MB ,Broj obrtaja po minutu: IntelliPower (Promenljiv broj obrtaja)
NAPOMENA: Navesti naziv proizvođača u finansijsku ponudu
Potrošni material
Konektori, kablovi,SATA III kablovi itd - Paušalno
Instalacija, povezivanje na postojeći system video nadzora i puštanje u rad  - paušal 1

· Garantni rok: min 24  mjeseci od dana isporuke ( dostavljanje garantnih listova, prilikom primopredaje robe I radova )
· Garancije kvaliteta : Dostaviti deklaraciju proizvođača za tražene stavke  i Korisničko uputstvo
· Način sprovođenja kontrole kvaliteta: Komisija za prijem i lice za nadzor

VI Način plaćanja

Rok plaćanja 15 dana po prijemu fakture, nakon prijema robe I radova , na žiro račun ponuđača

VII Rok  I mjesto isporuke robe, izvođenja radova, odnosno pružanja usluge:

a) Rok izvršenja 30 dana  od dana potpisivanja ugovora
b) Mjesto izvršenja ugovora je Gradski bazeni SC „Morača” Podgorica

VIII Kriterijum za vrednovanje ponude:

 najniža ponuđena cijena  bez pdv-a			  broj bodova  	  100	


IX Način i rok dostavljanja ponuda

Ponude se podnose preko ESJN-a zaključno sa danom 07.05.2021. godine do 10:00 sati.
Otvaranje ponuda održaće se dana  07.05.2021. godine u 10:30 sati. 

X Rok za donošenje obavještenja o ishodu postupka

do 30.05.2021.g.

XI  Uslovi za učešće u postupku javne nabavke

1. U postupku nabavke može da učestvuje samo ponuđač koji:
-  je upisan u registar kod organa nadležnog za registraciju privrednih subjekata;
-  je uredno izvršio sve obaveze po osnovu poreza i doprinosa u skladu sa zakonom, odnosno propisima države u kojoj ima sjedište;
-  da on odnosno njegov zakonski zastupnik nije pravosnažno osuđivan za neko od krivičnih djela organizovanog kriminala sa elementima korupcije, pranja novca i prevare;

Ispunjenost uslova se dokazuje potpisivanjem  Izjave- Obrazac 2 koja je sastavni dio dokumentacije predmeta nabavke tj. zahtjeva za dostavljanje ponuda. 
XI Druge informacije
Rok važenja ponude: 60 dana
Ponudjač je u obavezi dostaviti Izjavu o nepostojanju  sukoba interesa na strani Ponudjača sa licima navedenim u Zahtjevu Naručioca ( nalazi se u prilogu Zahtjeva- Obrazac 2)
Za izbor najpovoljnije ponude dovoljna je i jedna pristigla ponuda koja zadovoljava sve uslove navedene u zahtjevu za dostavljanje ponuda
Ako su dvije ili više ponuda jednako rangirane prema kriterijumu za izbor najpovoljnije, kao najpovoljnija biće izabrana ponuda žrijebanjem
Ponuđač izražava cijenu ponude u eurima, bez pdv-a,  uračunati svi troškovi i popusti.
Naručilac objavom obavještenja o ishodu postupka na ESJN stiče uslove za zaključivanje Ugovora o nabavci.



Službenik za javne nabavke                                                                   Izvršni direktor
Snežana Sekulić, dipl.ecc                                                                      mr Vojislav Marković

______________________	 M.P.                        _______________________











[bookmark: _Toc417218195][bookmark: _Toc418844895][bookmark: _Toc481054326]IZJAVA NARUČIOCA (OVLAŠĆENO LICE, SLUŽBENIK ZA JAVNE NABAVKE I LICA KOJA SU UČESTVOVALA U PLANIRANJU JAVNE NABAVKE) I IZRADI TEHNIČKE DOKUMENTACIJE O NEPOSTOJANJU SUKOBA INTERESA [footnoteRef:1] [1:  Potpisana izjava se nalazi u dokumentaciji 

nabavke naručioca





] 


Naručilac:”Sportski objekti” doo Podgorica                                                           
Broj: 4571/21- a
Datum: 28.04.2021.g.


Izjavljujem



da u postupku  jednostavne nabavke broj:06/JN, djel.br. 4569/21 od 28.04.2021.g. Nabavka po tehničkoj specifikaciji i nadogradnju sistema video nadzora na Gradskim bazenima, nijesam u sukobu interesa i da ne postoji ekonomski i drugi lični interes koji može kompromitovati moju objektivnost i nepristrasnost u ovom postupku nabavke.

Ovlašćeno lice naručioca mr Vojislav Marković
_________________________.

s.r.
Službenik za javne nabavke Snežana Sekulić,dipl.ecc
_________________________

s.r.
Lice koje je učestvovalo u planiranju  javne nabavke Goran Vujović,gradj.ing

_________________________
s.r.

Lice koje je učestvovalo u izradi tehničke specifikacije
 Budimir Karadzic, dipl.el.ing
________________________

s.r.

Zoran Šuković, Spec.App primijenj.rač., 
________________________

s.r


Obrazac 2



Na osnovu člana 5 stav 4 Pravilnika za sprovođenje jednostavnih nabavki ("Službeni list Crne Gore", br. 061/20 od 24.06.2020, 065/20 od 03.07.2020, 071/20 od 16.07.2020, 074/20 od 23.07.2020, 102/20 od 16.10.2020) ______(ponuđač)_____ dostavlja



I Z J A V U


1. Kojom potvrđuje da u potpunosti ispunjava sve uslove utvrđene zahtjevom za dostavljanje ponuda za jednostavne nabavke broj:07/JN,za Nabavka po tehničkoj specifikaciji i nadogradnju sistema video nadzora na Gradskim bazenima
2. U postupku jednostavne nabavke nijesam u sukobu interesa sa licima naručioca navedenim u izjavama o nepostojanju sukoba interesa na strani naručioca, koje su sastavni dio predmetnog Zahtjeva 





Ovlašćeno lice 

   (ime i prezime), 


(svojeručni potpis) 



M.P







